## Slide 1
Testing of SPM part of PETER unit in magnetic field
In cryostat at 257 K and 0 T
In cryostat at 257 K and 1 T
In cryostat at 257 K and 3 T
In cryostat at 257 K and 6 T
In cryostat at 257 K and 12 T

## Slide 2
Microwave path
from a source and to
a detector
PETER SPM
unit
Liquid He
reservoir
Liquid N2
reservoir
Pump
He recovery line
LT department

## Slide 3
Testing of SPM part of PETER unit in magnetic field at low temperature
In cryostat at 10 K (13 K) and 0 T
Fixed tip – new PVC tube
In cryostat at 10 K (13 K) and 0 T
Pump ON
Pump OFF
13 K
18 K
13 K
In cryostat at (148 K) and 0 T
Pump ON
Needle valve OPEN
Needle valve CLOSED
Pump ON
Fixed tip – new PVC tube
Fixed tip – new PVC tube

## Slide 4
AFM scanning parameters:
Scan field: 40 µm x 40 µm
Scan resolution: 512 x 512 points
Scan rate: 0.25 Hz (i.e. 20 µm/s)
Total scan time: cca 40 minutes
Environment: RT and in Air
Before scanning
After scanning (detail)
After scanning
Tip apex
Tip condition after single AFM scan of the calibration sample
Discs height: 120 nm