## Slide 1: Plasmon Enhanced Terahertz Electron Paramagnetic Resonance (PETER)
Rainer Hillenbrand
CIC nanoGUNE and Ikerbasque
San Sebastian, Spain
29/01/2018, Kick-off meeting, Brno

## Slide 2: San Sebastian, Basque Country
San Sebastian, Basque Country
CIC nanoGUNE

## Slide 3
nanoGUNE

## Slide 4: CIC nanoGUNE
Private no-profit organization devoted to basic research
Founded in 2006 by the Basque Region government
      New dedicated building with state-of-the-art equipment
Operations started 1st December 2008
Host of several spin-off companies
    10 Groups:
      Nanomagnetism: A. Berger and P. Vavassori
      Nanooptics: R. Hillenbrand
      Self-Assembly: A. Bittner
      Nanobiomechanics R. Perez-Jimenez
      Nanodevices: L. Hueso
      Theory: E. Artacho
      Electron Microscopy: A. Chuvilin
      Nanomaterials: M. Knetz
      Nanoimaging: J.I. Pascual
      Nanoengineering: A. Seifert

## Slide 5: Research Groups and Topics

## Slide 6: Nanooptics Group at nanoGUNE
Currently 17 group members
3 optics labs
3 near-field microscopes
2017

## Slide 7: Scattering-type scanning near-field optical microscopy (s-SNOM) allows for nanoscale optical imaging
Metal tips (Tip-enhanced s-SNOM)
Dielectric tips (s-SNOM)
Local dielectric properties, chemical composition, conductivity
Near-field distribution of plasmonic and photonic structures
AFM tip
sample
focused laser beam illuminates tip
backscattered light
is recorded
nanoscale resolved optical images
gold tip
air
metal
tip
E
IR
100 nm
l = 10 µm
TEM
Nano Lett. 8, 3766 (2008)
+
–
Optical phase
Optical amplitude
Topography
Nature Photon. 3, 287 (2009)
Ultramicroscopy 57, 313 (1995)
Opt. Lett. 20, 1924 (1995)
Science 269, 1083 (1995)
Nature 399, 134 (1999)
Nature 418, 159 (2002)

## Slide 8: IR/THz s-SNOM can map materials and free-carriers with nanoscale resolution
substructure of single 65 nm-transistor can be characterized with IR-THz s-SNOM
s-SNOM offers nanoscale spatial resolution at IR and THz frequencies
We already achieve 40 nm resolution at 118 µm ( = l/3000)
Enables quantitative and nanoscale resolved mapping of free carriers
A. Huber, F. Keilmann, J. Wittborn, R. J. Aizpurua, R. Hillenbrand, Nano Lett. 8, 3766 (2008)

## Slide 9: IR/THz-SNOM has wide application potential
Nature Mater. 10, 352 (2011)
Nature 418, 159 (2002)
Material science
Nature Mater. 3, 606 (2004)
Nature Nanotechnol. 4, 153 (2009)
Nanoscale mapping of e.g. strain, nanocracks
Photonics/Plamonics
Science 313, 1595 (2006)
Nature 487, 77 (2012)
Science 344, 1369 (2014)
Nature Photon. 10, 239–243 (2016)
Nature Nanotechnol. 12, 31 (2017)
Mapping of plasmons
Semiconductor technology
Nano Lett. 8, 3766 (2009)
Nano Lett. 10, 1387 (2011)
Nature Commun. 3:1131 (2012)
Nanoscale free-carrier profiling
Topography
IR image
200nm
Topography
1600
1650
1700
1750
1800
frequency [cm-1]
Virus
(Protein)
spectrum
PMMA spectrum
500 nm
IR signal
Nanoscale (bio)chemical imaging
Nano Lett. 6, 1307 (2006)
Nano Lett. 12, 3973 (2012)
Nature Commun. 4:2890 (2013)
Nature Commun. 8:14402 (2017)
1 mm
1 mm
1 μm
Graphene
SiC

## Slide 10: We develop more efficient THz near-field probes
L≈l/2
L<<l/2
Standard AFM probe
Custom made long AFM tips
cantilever
cantilever
25 µm
 Use graphene split-gate photodetector to measure the near-field intensity at tip apex to investigate antenna resonances in tip
In collaboration with Frank Koppens group, ICFO
Mastel et al., Nano Lett. 17, 11 (2017)

## Slide 11: All-electric THz nanoscopy
Experimental Setup
Demonstration
 use Schottky Diode for all-electrical Terahertz generation and heterodyne detection of near-field scattered signal
 THz near-field nanoscopy can distinguish carrier concentration in differently doped Silicon nanostructures
In collaboration with Fritz Keilmann and Neaspec GmbH
Liewald et al., Optica in press (2018)
Topography
near-field amplitude
near-field phase

## Slide 12
THz near-field microscopy with a bolometer
Experimental Setup
Demonstration
 Bolometer and synthetic holography method for recording THz near-field images
 THz near-field nanoscopy can distinguish carrier concentration in staircase p- and n-doped Silicon nanostructures
In collaboration with Ken Wood, QMC Technologies
Maissen et al., in preparation
near-field amplitude
near-field phase
Topography
bolometer
THz gas laser
Notes: So we fabricated such probes, which you see a false color scanning electron microscopy image on the right. For comparison on the left you see a standard AFM probe, with a tip length much smaller than the wavelength of THz radiation. The custom made probe was fabricated with focused ion beam machining. A standard AFM cantilever was used, but the tip replaced with a sharpened Pt/Ir wire, which has now a a length in the order of half the wavelength, in this case around 70 µm. The zoom in shows that the apex diameter is around 50 nm.
Now we wanted to test these probes if they indeed show an improved field enhancement at the tip apex.

## Slide 13: PETER – Research and development done at nanoGUNE
Antennas and probe tips for PETER
Design
Fabrication
Testing
with test samples at room temperature, without magnetic DC field
Concept
Tips
Existing s-SNOM

## Slide 14: First magnetic near-field probe designs
0
6000
H/H0
λ=180 um, H/H0
x
z

## Slide 15: Test sample – planar Diablo antenna
+
-
Surface charge
x
y
total current
+
-
x
y
0
H/H0
200
0
1340
H/H0
Magnetic “hot spots”
H/H0
1340
0
H/H0
y
z

## Slide 16: First magnetic near-field probe fabrication tests