## Slide 1: TK PETER update
03/12/2020

## Slide 2: Modulation coil – redesign to reduce heating
factor of 3.26 reduction of current
62 turns per coil vs. 19 turns per coil

## Slide 3: VDI source and heterodyne detector
Detector should be shipped in mid-Dec from VDI
320 GHz source is not meeting specifications: - possible teleconference to discuss this in 10 days

## Slide 4: AWG
Sample imaging enable faster waveform generation
1 us is 1.7 faster
100 us is 6.6 faster
Able to now have single pulses up to 0.8080803233333 sec long