## Slide 1: TK quick update
12/11/2018

## Slide 2: What TK is manufacturing
Materials testing bench – sent to Stuttgart
Titanium mirrors and baseplate to interface with NenoVision frame
350 GHz corrugated waveguide (assembly remaining)
Probe interface with VTI
Remaining probe supports
QO bench - approval
2nd QO configuration for probe – initial approval
Modulation coil - approval
Completed
In progress
Design stage
Design stage - approval

## Slide 3: Quasi Optical Bench

## Slide 4: Quasi optical bench drawing

## Slide 5: Helmholtz modulation coil design
Mod. ν (kHz) | Mod. Amp. (G)
1 | 4
10 | 2
100 | 1
AWG 20 wire
17 turns per coil

## Slide 6: 2nd MW Approach
2 compound angle mirrors
Beam waist at sample ~ 1 mm
Co-polar
Cross-polar

## Slide 7: Arbitrary waveform generator
Advantageous for the PETER project
  Easier rapid scanning capabilities
  Relevant for commercialization prospects
  Possibility to reduce standing wave effects